## Slide 1: Central lines in pediatric patients
Lauren Fortier, NP
Pediatric ICU

## Slide 2: Indications
Inadequate peripheral venous access
Long-term IV medication treatment
IV medication therapy at home
Administration of noxious medication
  Vasopressors
  Chemotherapy
  TPN
Hemodynamic monitoring
Extracorporeal therapies
Notes: Noxious- Cause phlebitis, pH matters
Extracorporeal therapies- hemodyalisys, continuous renal replacement, plasmapharesis

## Slide 3: Relative Contraindications
Coagulopathy and/or thrombocytopenia
Active bacteremia
Fevers with suspected bacteremia
No absolute contraindication
Notes: Need to weigh the risks and benefits
Coagulopathies- no clear threshold of coags, put line in place that is easy to monitor for bleeding

## Slide 4: Considerations
Anatomic site
Length of duration of need
In hospital vs. home
Lumens needed
Size of line/size of patient
Notes: Site- Pacemaker,

## Slide 5
Non-tunneled:
  Percutaneously placed (exit skin close to vein cannulation)
  Temporary
  PICC lines (Peripherally Inserted Central Catheter), Internal Jugular, Femoral CVL, Subclavian
Implanted
  Tunneled
    Traverse a subcutaneous tunnel before entering vein
    Hickman
    Broviak
    HD catheters
    Cuff
    Placed in OR by surgeon
  Implanted Port
    Port-A-Cath
    Placed in OR

## Slide 7: Timelines
PIV <1week
Femoral 1week
Subclavian 1 week
PICC <1 year
Hickman/Broviak Indefinite
Port-a-cath Indefinite

## Slide 8: http://www.auntminnie.com/index.aspx?sec=ser&sub=def&pag=dis&ItemID=57488

## Slide 9: A Central line placed in a vein below the clavicle with a catheter leading to the superior vena cava. Image credit: Blausen.com staff. "Blausen gallery 2014". Wikiversity Journal of Medicine. DOI:10.15347/wjm/2014.010. ISSN 20018762. - Own work, CC BY 3.0, https://commons.wikimedia.org/w/index.php?curid=29452218

## Slide 10
http://nursingcrib.com/wp-content/uploads/2014/01/central-venous-catheter.jpg

## Slide 11: PICC
Benefits:
  Bedside/IR placement
  Ease of insertion
  Well tolerated
Drawbacks:
  Renal patients (venous thrombosis and site disruption of HD cath in future)
  Infection risk
  Blood clots
  Relatively lower flow rates

## Slide 12
Notes: There are a variety of methods to estimate the position of the cavo-atrial junction on chest radiographs:
two vertebral body levels below the level of the carina 2
intersection of bronchus intermedius with the right heart border or inflection of the right heart border with the SVC contour 3
  note: superior right heart border may not always be formed by the right atrium and may be formed by the right atrial appendage or left atrium 4
within one vertebral space either side of T5/6 4

## Slide 13
Notes: There are a variety of methods to estimate the position of the cavo-atrial junction on chest radiographs:
two vertebral body levels below the level of the carina 2
intersection of bronchus intermedius with the right heart border or inflection of the right heart border with the SVC contour 3
  note: superior right heart border may not always be formed by the right atrium and may be formed by the right atrial appendage or left atrium 4
within one vertebral space either side of T5/6 4

## Slide 15: What could possibly go wrong?
Catheter-related infection
Catheter-induced thrombosis
Arrhythmia
Vascular injury
Venous air embolism
Phlebitis
Catheter migration
Nerve injury

## Slide 16: Catheter-related Venous Thrombosis
Increased risk:
  Line in lower extremity
  Larger size line
  Tip malposition
  PICC
Patient Risks:
  Malignancy
  History of DVT
  Hormonal therapy
  Prothrombotic state

## Slide 17: Troubleshooting: Unable to draw/flush
Patient repositioning
Alteplase (TPA)
  0-2.5kg = 0.25 mg
  2.6-10 kg = 0.5 mg
  >10k= 1 mg

## Slide 20: Removing A PICC Line
Preparing:
  Find line insertion note indicating length of line (lines are cut at time of insertion)
  Gather equipment: Gloves, mask, sterile gauze, bandaid, measuring tape
Patient position: supine or trendelenberg
Remove dressing with gloved hands (Purrell foam to help loosen adhesive)
Remove all sutures or StatLock®
Apply gauze pad over insertion site and hold in place throughout line removal
Gently, but firmly, pull PICC line at the hub while having the patient hum or hold breath
Remove entirety of PICC line and save for close evaluation
Hold gauze on insertion site for 2-3 minutes until there is hemostasis
Apply bandaid over gauze
***PICC Line Examination***
  Measure length (ensure matches documentation of insertion)
  Looks for missing pieces, cracks, holes
Problems??? Call Lauren or Vascular IR for support

## Slide 22: Ports
Bathing/showering/swimming
Minimally visible under clothes
Low flow rate
OR placed/removed
Long term
Frequency of use

## Slide 23: Tracheostomy

## Slide 29: Troubleshooting Mucus Plug in Trach
1. Suction
2. Instill saline and suction
3. Instill saline and provide breaths with BVM, suction
4. Change out tracheostomy (inner cannula first if there is one)
5. Insert endotracheal tube (orally or via trach stoma)